UNIFIED HEALTHCARE SaaS PLATFORM
MASTER SOFTWARE REQUIREMENTS SPECIFICATION

PHASE 6 — ENTERPRISE PLATFORM, SCADA, BPM, RULES, AI, DATA, API, CYBERSECURITY & SRE

Go + Protobuf/ConnectRPC + Clean Architecture + sqlc/PostgreSQL
Svelte/SvelteKit Web | Flutter Mobile | Rust AI/ML

Version 1.0 — September 2026
Depends on Master SRS Phases 1–5 and DPR v2.0.

# 1. Purpose, Scope and Architectural Role

Phase 6 specifies the enterprise platform capabilities that make all prior clinical, operational, diagnostic, pharmaceutical, insurance and patient modules configurable, observable, secure and scalable. It covers SCADA/BMS/IoT and hospital command center, workflow/BPM, rules, low-code forms, terminology, AI/ML, analytics/lakehouse, API/developer platform, cybersecurity/SOC, SRE/observability, downtime/disaster recovery, integration infrastructure and multi-country configuration.

Phase 6 does not replace domain services from Phases 1–5. It provides shared control planes and platform services consumed through explicit APIs/events.

Safety-critical facility control remains under OT engineering safeguards and local interlocks; the SaaS platform may observe, alarm, recommend and only control where a separately approved control path exists.

Clinical and commercial correctness must not depend on AI availability.

Configuration artifacts are versioned, effective-dated, auditable and promotable across environments.

Every platform capability must enforce tenant, facility, purpose and role boundaries below the UI layer.

# 2. Platform Actors

| Actor | Primary responsibility |
| --- | --- |
| Platform administrator | Tenant/platform configuration, feature flags, environments, integration and service health. |
| Hospital command-center operator | Operational view of beds, ED, OT, ICU, queues, facilities and escalations. |
| Facility/OT engineer | SCADA assets, alarms, historian, maintenance and approved control workflows. |
| Clinical informatics administrator | Forms, pathways, calculators, terminology mappings and clinical rules. |
| Business process administrator | Workflow definitions, SLAs, approvals, queues and escalations. |
| Data/BI administrator | Data products, semantic models, metrics, access and refresh quality. |
| ML/AI administrator | Model registry, deployment, monitoring, approvals and rollback. |
| Developer/integration partner | API credentials, sandbox, webhooks, conformance and usage. |
| Security/SOC analyst | Threat monitoring, investigation, response and access review. |
| SRE/platform engineer | Reliability, capacity, deployment, observability, backup and DR. |
| Country/configuration administrator | Country pack, tax, identifiers, privacy, payer/pharmacy and terminology configuration. |

# 3. SCADA, BMS, IoT and Hospital Command Center

## 3.1 OT Asset and Point Model

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SCA-MDL-001 | Facility engineer | Maintain OT hierarchy: campus → building → floor → plant room → system → equipment → point/sensor/actuator. | Must | DPR v2.0 |
| SRS-SCA-MDL-002 | Facility engineer | Support electrical, HVAC, AHU, chiller, boiler, DG, UPS, transformer, water, RO, STP/ETP, medical gases, fire, elevator, cold-chain and environmental equipment classes. | Must | DPR v2.0 |
| SRS-SCA-MDL-003 | Facility engineer | Store equipment make, model, serial, capacity, commissioning, criticality, maintenance owner and physical location. | Must | DPR v2.0 |
| SRS-SCA-MDL-004 | Facility engineer | Represent points with engineering unit, data type, normal range, alarm limits, source protocol, polling/subscription rate and quality status. | Must | DPR v2.0 |
| SRS-SCA-MDL-005 | Facility engineer | Support analog, binary, multistate, counter, calculated and command-capable point types. | Must | DPR v2.0 |
| SRS-SCA-MDL-006 | Facility engineer | Version point mappings and retain historical mapping provenance. | Must | DPR v2.0 |
| SRS-SCA-MDL-007 | Facility engineer | Support logical grouping by critical area such as OT, ICU, NICU, laboratory, pharmacy cold room and data center. | Must | DPR v2.0 |
| SRS-SCA-MDL-008 | Facility engineer | Represent redundancy relationships such as duty/standby pumps, dual UPS and N+1 chillers. | Must | DPR v2.0 |
| SRS-SCA-MDL-009 | Facility engineer | Support parent-child dependency graph for equipment impact analysis. | Must | DPR v2.0 |
| SRS-SCA-MDL-010 | Facility engineer | Prevent deletion of assets/points with historical telemetry; retire/deactivate instead. | Must | DPR v2.0 |
| SRS-SCA-MDL-011 | Facility engineer | Support bulk import/export of asset and point masters with validation. | Must | DPR v2.0 |
| SRS-SCA-MDL-012 | Facility engineer | Audit all changes to critical asset/point configuration. | Must | DPR v2.0 |

## 3.2 Protocols, Gateways and Telemetry

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SCA-IOT-001 | OT gateway | Support gateway adapters for BACnet/IP, BACnet MS/TP, Modbus TCP, Modbus RTU, OPC UA, MQTT and vendor APIs where required. | Must | DPR v2.0 |
| SRS-SCA-IOT-002 | OT gateway | Isolate OT protocol handling in edge gateways; cloud services consume normalized messages rather than direct fieldbus access. | Must | DPR v2.0 |
| SRS-SCA-IOT-003 | OT gateway | Authenticate edge gateways using certificates or equivalent managed machine identity. | Must | DPR v2.0 |
| SRS-SCA-IOT-004 | OT gateway | Support store-and-forward buffering during WAN outage. | Must | DPR v2.0 |
| SRS-SCA-IOT-005 | OT gateway | Preserve source timestamp, gateway receive timestamp and platform ingest timestamp. | Must | DPR v2.0 |
| SRS-SCA-IOT-006 | OT gateway | Preserve source quality flags and distinguish bad/stale/uncertain data. | Must | DPR v2.0 |
| SRS-SCA-IOT-007 | OT gateway | Deduplicate retransmitted telemetry using source identity and sequence/message keys. | Must | DPR v2.0 |
| SRS-SCA-IOT-008 | OT gateway | Handle out-of-order telemetry without overwriting newer data. | Must | DPR v2.0 |
| SRS-SCA-IOT-009 | OT gateway | Detect gateway offline, point stale and excessive error-rate conditions. | Must | DPR v2.0 |
| SRS-SCA-IOT-010 | OT gateway | Allow configurable sampling, deadband and aggregation to control telemetry volume. | Must | DPR v2.0 |
| SRS-SCA-IOT-011 | OT gateway | Support secure remote configuration of gateway mappings with staged activation and rollback. | Must | DPR v2.0 |
| SRS-SCA-IOT-012 | OT gateway | Maintain edge software version and upgrade status inventory. | Must | DPR v2.0 |
| SRS-SCA-IOT-013 | OT gateway | Encrypt telemetry in transit and secrets at rest. | Must | DPR v2.0 |
| SRS-SCA-IOT-014 | OT gateway | Provide dead-letter queue for malformed/unknown point data. | Must | DPR v2.0 |
| SRS-SCA-IOT-015 | OT gateway | Allow protocol-specific diagnostic view without exposing credentials. | Must | DPR v2.0 |
| SRS-SCA-IOT-016 | OT gateway | Provide adapter performance metrics, latency, loss and queue depth. | Must | DPR v2.0 |

## 3.3 Historian, Trends and Alarm Management

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SCA-HIS-001 | Command-center operator | Store high-volume telemetry in time-series optimized historian separate from core clinical OLTP. | Must | DPR v2.0 |
| SRS-SCA-HIS-002 | Command-center operator | Support raw, minute, hourly and daily aggregation policies by point class. | Must | DPR v2.0 |
| SRS-SCA-HIS-003 | Command-center operator | Apply configurable retention by telemetry criticality and regulatory/business need. | Must | DPR v2.0 |
| SRS-SCA-HIS-004 | Command-center operator | Display multi-point trends with aligned timestamps and engineering units. | Must | DPR v2.0 |
| SRS-SCA-HIS-005 | Command-center operator | Support derived/calculated points with versioned formulas. | Must | DPR v2.0 |
| SRS-SCA-HIS-006 | Command-center operator | Create alarms using threshold, deadband, delay, rate-of-change, deviation and state-transition logic. | Must | DPR v2.0 |
| SRS-SCA-HIS-007 | Command-center operator | Support alarm priorities and categories such as critical, high, medium, advisory. | Must | DPR v2.0 |
| SRS-SCA-HIS-008 | Command-center operator | Record alarm raise, acknowledge, shelve, suppress, clear and closure timestamps. | Must | DPR v2.0 |
| SRS-SCA-HIS-009 | Command-center operator | Require operator identity and optional comment for acknowledgment of configured critical alarms. | Must | DPR v2.0 |
| SRS-SCA-HIS-010 | Command-center operator | Support alarm shelving with expiry and reason. | Must | DPR v2.0 |
| SRS-SCA-HIS-011 | Command-center operator | Prevent indefinite suppression of configured safety-critical alarms without elevated approval. | Must | DPR v2.0 |
| SRS-SCA-HIS-012 | Command-center operator | Support escalation rules by priority, asset, location and unacknowledged duration. | Must | DPR v2.0 |
| SRS-SCA-HIS-013 | Command-center operator | Maintain alarm flood detection and aggregation/correlation. | Must | DPR v2.0 |
| SRS-SCA-HIS-014 | Command-center operator | Link alarm to maintenance work order or incident. | Must | DPR v2.0 |
| SRS-SCA-HIS-015 | Command-center operator | Provide alarm KPI: count, standing alarms, chattering, mean acknowledgment time and recurrence. | Must | DPR v2.0 |
| SRS-SCA-HIS-016 | Command-center operator | Retain immutable alarm event history. | Must | DPR v2.0 |

## 3.4 Medical Gas, Energy, Water and Environmental Monitoring

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SCA-ENV-001 | Facility engineer | Monitor configured medical gas pressures, levels, manifold state, plant state and critical alarms. | Must | DPR v2.0 |
| SRS-SCA-ENV-002 | Facility engineer | Support oxygen plant/tank level trend and estimated time-to-threshold calculation as advisory. | Must | DPR v2.0 |
| SRS-SCA-ENV-003 | Facility engineer | Monitor electrical meters, demand, energy, power factor, harmonics where available and DG runtime. | Must | DPR v2.0 |
| SRS-SCA-ENV-004 | Facility engineer | Allocate energy consumption by meter hierarchy to facility/floor/department/equipment where topology permits. | Must | DPR v2.0 |
| SRS-SCA-ENV-005 | Facility engineer | Monitor water tank level, flow, pump state and consumption. | Must | DPR v2.0 |
| SRS-SCA-ENV-006 | Facility engineer | Support leakage/anomaly alerts based on abnormal continuous flow or expected usage profiles. | Must | DPR v2.0 |
| SRS-SCA-ENV-007 | Facility engineer | Monitor RO/STP/ETP key parameters where sensors/interfaces exist. | Must | DPR v2.0 |
| SRS-SCA-ENV-008 | Facility engineer | Monitor pharmacy/lab refrigerator, freezer and cold-room temperatures. | Must | DPR v2.0 |
| SRS-SCA-ENV-009 | Facility engineer | Generate temperature excursion episode with start/end, min/max, affected asset and acknowledgment. | Must | DPR v2.0 |
| SRS-SCA-ENV-010 | Facility engineer | Link cold-chain excursion to inventory quarantine workflow where configured. | Must | DPR v2.0 |
| SRS-SCA-ENV-011 | Facility engineer | Monitor OT/ICU/NICU/lab environmental temperature/humidity/differential pressure where instrumentation exists. | Must | DPR v2.0 |
| SRS-SCA-ENV-012 | Facility engineer | Support room pressure directional status for isolation/clean areas. | Must | DPR v2.0 |
| SRS-SCA-ENV-013 | Facility engineer | Track HVAC comfort/critical-area deviations separately. | Must | DPR v2.0 |
| SRS-SCA-ENV-014 | Facility engineer | Produce energy/water intensity metrics normalized by bed, area or configured denominator. | Must | DPR v2.0 |
| SRS-SCA-ENV-015 | Facility engineer | Support sustainability dashboard and baseline-versus-actual trend. | Must | DPR v2.0 |
| SRS-SCA-ENV-016 | Facility engineer | Never infer regulatory compliance solely from telemetry without site-specific calibration/validation status. | Must | DPR v2.0 |

## 3.5 Hospital Command Center

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CMD-001 | Command-center operator | Provide command-center overview combining bed occupancy, ED load, OP queues, OT status, ICU capacity, critical diagnostics backlog, pharmacy turnaround, ambulance status and facility alarms. | Must | DPR v2.0 |
| SRS-CMD-002 | Command-center operator | Allow drill-down from KPI to authoritative source module without duplicating transactional ownership. | Must | DPR v2.0 |
| SRS-CMD-003 | Command-center operator | Support configurable wallboard layouts by hospital/site. | Must | DPR v2.0 |
| SRS-CMD-004 | Command-center operator | Display only near-real-time data with freshness indicator. | Must | DPR v2.0 |
| SRS-CMD-005 | Command-center operator | Identify stale source feed distinctly from normal zero value. | Must | DPR v2.0 |
| SRS-CMD-006 | Command-center operator | Provide operational severity model independent of clinical severity terminology. | Must | DPR v2.0 |
| SRS-CMD-007 | Command-center operator | Support escalation/task creation from command-center exception. | Must | DPR v2.0 |
| SRS-CMD-008 | Command-center operator | Support predicted capacity pressure as advisory with confidence/freshness. | Must | DPR v2.0 |
| SRS-CMD-009 | Command-center operator | Display facility critical alarms without granting OT control to ordinary hospital operations users. | Must | DPR v2.0 |
| SRS-CMD-010 | Command-center operator | Support incident timeline combining selected domain events. | Must | DPR v2.0 |
| SRS-CMD-011 | Command-center operator | Support daily operations briefing snapshot and handover. | Must | DPR v2.0 |
| SRS-CMD-012 | Command-center operator | Provide role-specific views for COO, nursing supervisor, facilities, ED and bed manager. | Must | DPR v2.0 |
| SRS-CMD-013 | Command-center operator | Allow manual operational annotation without altering source clinical/financial record. | Must | DPR v2.0 |
| SRS-CMD-014 | Command-center operator | Support multi-hospital group roll-up and site comparison. | Must | DPR v2.0 |
| SRS-CMD-015 | Command-center operator | Provide SLA breach forecast for queues, diagnostics, pharmacy, housekeeping and maintenance. | Must | DPR v2.0 |
| SRS-CMD-016 | Command-center operator | Provide read-only disaster/downtime status board during degraded operation. | Must | DPR v2.0 |

## 3.6 OT Cybersecurity and Control Safety

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SCA-SEC-001 | Security / Facility | Segment OT networks from corporate/clinical networks using approved firewalls/zones. | Must | DPR v2.0 |
| SRS-SCA-SEC-002 | Security / Facility | Default cloud-to-OT integration to read-only telemetry unless an explicitly approved control use case exists. | Must | DPR v2.0 |
| SRS-SCA-SEC-003 | Security / Facility | Require separate authorization model for command-capable points. | Must | DPR v2.0 |
| SRS-SCA-SEC-004 | Security / Facility | Require dual confirmation or elevated approval for configured high-impact remote commands. | Must | DPR v2.0 |
| SRS-SCA-SEC-005 | Security / Facility | Retain local physical/interlock authority regardless of cloud command state. | Must | DPR v2.0 |
| SRS-SCA-SEC-006 | Security / Facility | Log every command request, authorization, gateway receipt and equipment response. | Must | DPR v2.0 |
| SRS-SCA-SEC-007 | Security / Facility | Support command timeout and fail-safe state handling. | Must | DPR v2.0 |
| SRS-SCA-SEC-008 | Security / Facility | Prevent replay of old command messages through nonce/sequence controls where protocol architecture allows. | Must | DPR v2.0 |
| SRS-SCA-SEC-009 | Security / Facility | Maintain allow-listed gateway endpoints and certificate rotation. | Must | DPR v2.0 |
| SRS-SCA-SEC-010 | Security / Facility | Prohibit direct internet exposure of field controllers. | Must | DPR v2.0 |
| SRS-SCA-SEC-011 | Security / Facility | Support secure vendor remote access with time-bound approval and session logging where implemented. | Must | DPR v2.0 |
| SRS-SCA-SEC-012 | Security / Facility | Maintain OT asset vulnerability inventory and remediation status. | Must | DPR v2.0 |
| SRS-SCA-SEC-013 | Security / Facility | Support passive asset discovery where it does not jeopardize OT safety. | Must | DPR v2.0 |
| SRS-SCA-SEC-014 | Security / Facility | Separate OT incident response runbook from ordinary IT incident playbook. | Must | DPR v2.0 |
| SRS-SCA-SEC-015 | Security / Facility | Support offline operation of plant safety during SaaS/cloud outage. | Must | DPR v2.0 |

# 4. Workflow / BPM Platform

## 4.1 Workflow Definition and Versioning

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-BPM-DEF-001 | Process administrator | Provide workflow definition model with triggers, states, tasks, decisions, timers, subflows, events, compensations and terminal outcomes. | Must | DPR v2.0 |
| SRS-BPM-DEF-002 | Process administrator | Support human tasks, service tasks, message/event waits and scheduled timers. | Must | DPR v2.0 |
| SRS-BPM-DEF-003 | Process administrator | Version every workflow definition; running instances remain pinned to the version started unless migrated explicitly. | Must | DPR v2.0 |
| SRS-BPM-DEF-004 | Process administrator | Support draft, review, approved, active, retired lifecycle. | Must | DPR v2.0 |
| SRS-BPM-DEF-005 | Process administrator | Require maker-checker for production activation of configured critical workflows. | Must | DPR v2.0 |
| SRS-BPM-DEF-006 | Process administrator | Support effective-dated activation by tenant/facility. | Must | DPR v2.0 |
| SRS-BPM-DEF-007 | Process administrator | Support reusable subflows and templates. | Must | DPR v2.0 |
| SRS-BPM-DEF-008 | Process administrator | Support branch/merge, parallel tasks and quorum approvals. | Must | DPR v2.0 |
| SRS-BPM-DEF-009 | Process administrator | Support escalation path and SLA timers. | Must | DPR v2.0 |
| SRS-BPM-DEF-010 | Process administrator | Support retries with backoff for service tasks. | Must | DPR v2.0 |
| SRS-BPM-DEF-011 | Process administrator | Support compensation action for reversible distributed steps. | Must | DPR v2.0 |
| SRS-BPM-DEF-012 | Process administrator | Support manual intervention state for unrecoverable exceptions. | Must | DPR v2.0 |
| SRS-BPM-DEF-013 | Process administrator | Prevent arbitrary code execution inside low-code workflow definitions. | Must | DPR v2.0 |
| SRS-BPM-DEF-014 | Process administrator | Provide workflow simulation/test mode with sample data. | Must | DPR v2.0 |
| SRS-BPM-DEF-015 | Process administrator | Export/import workflow packages between environments with dependency validation. | Must | DPR v2.0 |
| SRS-BPM-DEF-016 | Process administrator | Audit who changed each workflow version and the exact diff. | Must | DPR v2.0 |

## 4.2 Workflow Runtime

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-BPM-RUN-001 | Workflow engine | Start workflow idempotently from domain event, API command or authorized manual action. | Must | DPR v2.0 |
| SRS-BPM-RUN-002 | Workflow engine | Persist durable state so workflow survives process/node restart. | Must | DPR v2.0 |
| SRS-BPM-RUN-003 | Workflow engine | Guarantee at-least-once task/event handling with idempotent step semantics. | Must | DPR v2.0 |
| SRS-BPM-RUN-004 | Workflow engine | Correlate external messages to correct workflow instance. | Must | DPR v2.0 |
| SRS-BPM-RUN-005 | Workflow engine | Support wait for event with timeout and alternate path. | Must | DPR v2.0 |
| SRS-BPM-RUN-006 | Workflow engine | Support cancellation with configured compensation policy. | Must | DPR v2.0 |
| SRS-BPM-RUN-007 | Workflow engine | Support pause/resume by authorized operator. | Must | DPR v2.0 |
| SRS-BPM-RUN-008 | Workflow engine | Maintain complete step execution history. | Must | DPR v2.0 |
| SRS-BPM-RUN-009 | Workflow engine | Expose current state, pending tasks, timers and last error. | Must | DPR v2.0 |
| SRS-BPM-RUN-010 | Workflow engine | Support bulk operational search by workflow type, tenant, entity, state and SLA risk. | Must | DPR v2.0 |
| SRS-BPM-RUN-011 | Workflow engine | Provide dead-letter/failed-instance queue with controlled retry. | Must | DPR v2.0 |
| SRS-BPM-RUN-012 | Workflow engine | Prevent workflow engine from directly mutating another domain database. | Must | DPR v2.0 |
| SRS-BPM-RUN-013 | Workflow engine | Use domain service APIs/events for all cross-context actions. | Must | DPR v2.0 |
| SRS-BPM-RUN-014 | Workflow engine | Emit workflow lifecycle events. | Must | DPR v2.0 |
| SRS-BPM-RUN-015 | Workflow engine | Provide runtime metrics for started/completed/failed/stuck/SLA-breached instances. | Must | DPR v2.0 |
| SRS-BPM-RUN-016 | Workflow engine | Support horizontally scalable workers with concurrency controls. | Must | DPR v2.0 |
| SRS-BPM-RUN-017 | Workflow engine | Support priority queues for clinically/operationally urgent work. | Must | DPR v2.0 |
| SRS-BPM-RUN-018 | Workflow engine | Ensure tenant isolation in all task routing and search. | Must | DPR v2.0 |

## 4.3 Human Task and Approval Engine

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-BPM-TASK-001 | Staff user | Represent task owner as user, role, team, queue or dynamic assignment expression. | Must | DPR v2.0 |
| SRS-BPM-TASK-002 | Staff user | Support claim, release, delegate, reassign and escalate operations with audit. | Must | DPR v2.0 |
| SRS-BPM-TASK-003 | Staff user | Support due date, priority, SLA and aging. | Must | DPR v2.0 |
| SRS-BPM-TASK-004 | Staff user | Support required data/actions before completion. | Must | DPR v2.0 |
| SRS-BPM-TASK-005 | Staff user | Support maker-checker and four-eyes approval. | Must | DPR v2.0 |
| SRS-BPM-TASK-006 | Staff user | Prevent same person from maker and checker where segregation rule requires. | Must | DPR v2.0 |
| SRS-BPM-TASK-007 | Staff user | Support sequential and parallel approval chains. | Must | DPR v2.0 |
| SRS-BPM-TASK-008 | Staff user | Support approval by value/amount/risk thresholds. | Must | DPR v2.0 |
| SRS-BPM-TASK-009 | Staff user | Support substitute/delegation periods for leave. | Must | DPR v2.0 |
| SRS-BPM-TASK-010 | Staff user | Support mobile/push task notification. | Must | DPR v2.0 |
| SRS-BPM-TASK-011 | Staff user | Support task comments and attachments under source-domain access rules. | Must | DPR v2.0 |
| SRS-BPM-TASK-012 | Staff user | Support bulk actions only for workflows explicitly marked safe for bulk processing. | Must | DPR v2.0 |
| SRS-BPM-TASK-013 | Staff user | Record completion reason and decision. | Must | DPR v2.0 |
| SRS-BPM-TASK-014 | Staff user | Allow task cancellation when source transaction is withdrawn. | Must | DPR v2.0 |
| SRS-BPM-TASK-015 | Staff user | Provide inbox views with saved filters and work distribution metrics. | Must | DPR v2.0 |

# 5. Enterprise Rules and Decision Platform

## 5.1 Rules Authoring and Governance

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-RUL-DEF-001 | Rule administrator | Support deterministic rule types: validation, eligibility, calculation, routing, alert, scoring and derived-value rules. | Must | DPR v2.0 |
| SRS-RUL-DEF-002 | Rule administrator | Represent conditions and actions in versioned declarative format. | Must | DPR v2.0 |
| SRS-RUL-DEF-003 | Rule administrator | Support decision tables for tariff, coverage, authorization, scheme, routing and similar rules. | Must | DPR v2.0 |
| SRS-RUL-DEF-004 | Rule administrator | Support expression functions only from allow-listed deterministic library. | Must | DPR v2.0 |
| SRS-RUL-DEF-005 | Rule administrator | Support effective dates and tenant/facility/country scope. | Must | DPR v2.0 |
| SRS-RUL-DEF-006 | Rule administrator | Support priority and explicit conflict resolution. | Must | DPR v2.0 |
| SRS-RUL-DEF-007 | Rule administrator | Require unit/type validation for clinical calculations. | Must | DPR v2.0 |
| SRS-RUL-DEF-008 | Rule administrator | Require citation/source metadata for governed clinical rules. | Must | DPR v2.0 |
| SRS-RUL-DEF-009 | Rule administrator | Require clinical owner and review date for clinical decision-support rules. | Must | DPR v2.0 |
| SRS-RUL-DEF-010 | Rule administrator | Require finance/business owner for commercial rules. | Must | DPR v2.0 |
| SRS-RUL-DEF-011 | Rule administrator | Support draft, test, review, approved, active and retired lifecycle. | Must | DPR v2.0 |
| SRS-RUL-DEF-012 | Rule administrator | Support rule simulation using historical/test cases without posting actions. | Must | DPR v2.0 |
| SRS-RUL-DEF-013 | Rule administrator | Provide regression test cases attached to rule version. | Must | DPR v2.0 |
| SRS-RUL-DEF-014 | Rule administrator | Prevent editing an active version in place; create new version. | Must | DPR v2.0 |
| SRS-RUL-DEF-015 | Rule administrator | Provide diff view between versions. | Must | DPR v2.0 |
| SRS-RUL-DEF-016 | Rule administrator | Audit activation and rollback. | Must | DPR v2.0 |
| SRS-RUL-DEF-017 | Rule administrator | Support feature flag to disable faulty rule without code deployment. | Must | DPR v2.0 |
| SRS-RUL-DEF-018 | Rule administrator | Support rule dependency graph and circular-dependency detection. | Must | DPR v2.0 |

## 5.2 Rules Runtime and Explainability

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-RUL-RUN-001 | Rules engine | Evaluate rule with explicit version and effective timestamp. | Must | DPR v2.0 |
| SRS-RUL-RUN-002 | Rules engine | Return decision plus contributing rule IDs and explanation data. | Must | DPR v2.0 |
| SRS-RUL-RUN-003 | Rules engine | Record rule version used for material clinical/financial decisions. | Must | DPR v2.0 |
| SRS-RUL-RUN-004 | Rules engine | Support low-latency synchronous evaluation for interactive workflows. | Must | DPR v2.0 |
| SRS-RUL-RUN-005 | Rules engine | Support batch evaluation for retrospective analytics where appropriate. | Must | DPR v2.0 |
| SRS-RUL-RUN-006 | Rules engine | Fail closed for configured mandatory safety rules when evaluation service is unavailable, otherwise follow per-rule failure policy. | Must | DPR v2.0 |
| SRS-RUL-RUN-007 | Rules engine | Never silently substitute a different rule version during retry. | Must | DPR v2.0 |
| SRS-RUL-RUN-008 | Rules engine | Support deterministic replay of prior decision using preserved inputs/version. | Must | DPR v2.0 |
| SRS-RUL-RUN-009 | Rules engine | Measure evaluation latency, error rate and rule-hit frequency. | Must | DPR v2.0 |
| SRS-RUL-RUN-010 | Rules engine | Detect conflicting outputs and route to configured resolution. | Must | DPR v2.0 |
| SRS-RUL-RUN-011 | Rules engine | Support shadow mode for new rules before activation. | Must | DPR v2.0 |
| SRS-RUL-RUN-012 | Rules engine | Support alert suppression/rate limiting to prevent fatigue. | Must | DPR v2.0 |
| SRS-RUL-RUN-013 | Rules engine | Separate clinical warning severity from technical error severity. | Must | DPR v2.0 |
| SRS-RUL-RUN-014 | Rules engine | Support explicit override with reason and privilege where rule policy allows. | Must | DPR v2.0 |
| SRS-RUL-RUN-015 | Rules engine | Provide override analytics by rule, specialty and user role. | Must | DPR v2.0 |

# 6. Low-code Forms, Templates and Configuration Studio

## 6.1 Form Builder

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-FORM-001 | Clinical informatics admin | Provide schema-driven form builder for clinical, administrative, audit and operational forms. | Must | DPR v2.0 |
| SRS-FORM-002 | Clinical informatics admin | Support text, numeric, date/time, coded selection, boolean, signature, image, body-map reference, file and repeating-group fields. | Must | DPR v2.0 |
| SRS-FORM-003 | Clinical informatics admin | Support units and numeric range validation. | Must | DPR v2.0 |
| SRS-FORM-004 | Clinical informatics admin | Support conditional visibility and requiredness. | Must | DPR v2.0 |
| SRS-FORM-005 | Clinical informatics admin | Support calculated fields using allow-listed deterministic expressions. | Must | DPR v2.0 |
| SRS-FORM-006 | Clinical informatics admin | Support sections, tabs, grids and repeatable groups. | Must | DPR v2.0 |
| SRS-FORM-007 | Clinical informatics admin | Support terminology-bound coded fields. | Must | DPR v2.0 |
| SRS-FORM-008 | Clinical informatics admin | Support dynamic choices from governed master data. | Must | DPR v2.0 |
| SRS-FORM-009 | Clinical informatics admin | Support field-level help text and patient/staff display labels. | Must | DPR v2.0 |
| SRS-FORM-010 | Clinical informatics admin | Support multilingual labels/content. | Must | DPR v2.0 |
| SRS-FORM-011 | Clinical informatics admin | Version form schema and pin submitted records to exact version. | Must | DPR v2.0 |
| SRS-FORM-012 | Clinical informatics admin | Prevent destructive change of field identity once used in finalized records. | Must | DPR v2.0 |
| SRS-FORM-013 | Clinical informatics admin | Support draft autosave. | Must | DPR v2.0 |
| SRS-FORM-014 | Clinical informatics admin | Support electronic signature/sign-off stage. | Must | DPR v2.0 |
| SRS-FORM-015 | Clinical informatics admin | Support amendment/addendum semantics for finalized forms. | Must | DPR v2.0 |
| SRS-FORM-016 | Clinical informatics admin | Support form-level and field-level access restrictions. | Must | DPR v2.0 |
| SRS-FORM-017 | Clinical informatics admin | Provide preview for desktop, tablet and mobile layouts. | Must | DPR v2.0 |
| SRS-FORM-018 | Clinical informatics admin | Provide test cases and validation before production activation. | Must | DPR v2.0 |
| SRS-FORM-019 | Clinical informatics admin | Support import/export between environments. | Must | DPR v2.0 |
| SRS-FORM-020 | Clinical informatics admin | Audit every schema change. | Must | DPR v2.0 |

## 6.2 Document and Communication Template Studio

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-TPL-001 | Template administrator | Support versioned templates for prescriptions, discharge summaries, reports, invoices, letters, certificates, notifications and labels. | Must | DPR v2.0 |
| SRS-TPL-002 | Template administrator | Support controlled merge fields from approved data contracts. | Must | DPR v2.0 |
| SRS-TPL-003 | Template administrator | Prevent arbitrary database queries inside templates. | Must | DPR v2.0 |
| SRS-TPL-004 | Template administrator | Support conditional sections and loops over approved collections. | Must | DPR v2.0 |
| SRS-TPL-005 | Template administrator | Support barcode/QR generation where required. | Must | DPR v2.0 |
| SRS-TPL-006 | Template administrator | Support multilingual templates and fallback. | Must | DPR v2.0 |
| SRS-TPL-007 | Template administrator | Support facility/legal-entity branding configuration. | Must | DPR v2.0 |
| SRS-TPL-008 | Template administrator | Support digital-signature placeholders and signer metadata. | Must | DPR v2.0 |
| SRS-TPL-009 | Template administrator | Support preview with synthetic/test data. | Must | DPR v2.0 |
| SRS-TPL-010 | Template administrator | Version rendered output against template version used. | Must | DPR v2.0 |
| SRS-TPL-011 | Template administrator | Support label/printer-specific dimensions. | Must | DPR v2.0 |
| SRS-TPL-012 | Template administrator | Support email/SMS/push templates with channel constraints. | Must | DPR v2.0 |
| SRS-TPL-013 | Template administrator | Validate message length/required regulatory text before activation. | Must | DPR v2.0 |
| SRS-TPL-014 | Template administrator | Support maker-checker for high-impact external communication templates. | Must | DPR v2.0 |
| SRS-TPL-015 | Template administrator | Audit template activation and retirement. | Must | DPR v2.0 |

# 7. Terminology and Clinical Knowledge Service

## 7.1 Terminology Service

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-TERM-001 | Terminology administrator | Maintain code systems, concepts, versions, synonyms and status. | Must | DPR v2.0 |
| SRS-TERM-002 | Terminology administrator | Support SNOMED CT, LOINC, ICD and other licensed/authorized coding systems as configured. | Must | DPR v2.0 |
| SRS-TERM-003 | Terminology administrator | Maintain local hospital codes without modifying external code-system identities. | Must | DPR v2.0 |
| SRS-TERM-004 | Terminology administrator | Support value sets and subsets by specialty/workflow. | Must | DPR v2.0 |
| SRS-TERM-005 | Terminology administrator | Support concept search by term, synonym and code. | Must | DPR v2.0 |
| SRS-TERM-006 | Terminology administrator | Support mapping between local and standard concepts with map relationship and confidence/governance status. | Must | DPR v2.0 |
| SRS-TERM-007 | Terminology administrator | Version mappings and preserve historical mapping used on prior records. | Must | DPR v2.0 |
| SRS-TERM-008 | Terminology administrator | Support inactive/deprecated concept handling. | Must | DPR v2.0 |
| SRS-TERM-009 | Terminology administrator | Support terminology validation API for FHIR/external exchange. | Must | DPR v2.0 |
| SRS-TERM-010 | Terminology administrator | Support unit-of-measure normalization and UCUM-compatible configuration where applicable. | Must | DPR v2.0 |
| SRS-TERM-011 | Terminology administrator | Support medication terminology mappings to local drug master. | Must | DPR v2.0 |
| SRS-TERM-012 | Terminology administrator | Support laboratory test/component mappings to LOINC where configured. | Must | DPR v2.0 |
| SRS-TERM-013 | Terminology administrator | Support diagnosis/problem terminology to SNOMED/ICD mapping workflows. | Must | DPR v2.0 |
| SRS-TERM-014 | Terminology administrator | Support multilingual display terms where source/license permits. | Must | DPR v2.0 |
| SRS-TERM-015 | Terminology administrator | Enforce terminology licensing/access constraints. | Must | DPR v2.0 |
| SRS-TERM-016 | Terminology administrator | Audit terminology import and mapping approvals. | Must | DPR v2.0 |
| SRS-TERM-017 | Terminology administrator | Provide terminology package promotion across environments. | Must | DPR v2.0 |
| SRS-TERM-018 | Terminology administrator | Support dependency checks before retiring mapped local concepts. | Must | DPR v2.0 |

## 7.2 Clinical Knowledge Artifacts

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-KNW-001 | Clinical informatics | Maintain order sets, pathways, calculators, guidelines and patient-education artifacts as versioned knowledge objects. | Must | DPR v2.0 |
| SRS-KNW-002 | Clinical informatics | Associate knowledge objects with specialties, diagnoses, procedures and contexts. | Must | DPR v2.0 |
| SRS-KNW-003 | Clinical informatics | Store owner, evidence/source reference, review date and status. | Must | DPR v2.0 |
| SRS-KNW-004 | Clinical informatics | Support effective date and retirement. | Must | DPR v2.0 |
| SRS-KNW-005 | Clinical informatics | Support calculator input definitions, units, formula, interpretation bands and validation cases. | Must | DPR v2.0 |
| SRS-KNW-006 | Clinical informatics | Record exact calculator version and inputs when result influences clinical workflow. | Must | DPR v2.0 |
| SRS-KNW-007 | Clinical informatics | Support pathway milestone and variance tracking. | Must | DPR v2.0 |
| SRS-KNW-008 | Clinical informatics | Support order-set defaults without auto-ordering until clinician confirmation unless explicitly permitted. | Must | DPR v2.0 |
| SRS-KNW-009 | Clinical informatics | Support contraindication/eligibility rules through rule service. | Must | DPR v2.0 |
| SRS-KNW-010 | Clinical informatics | Support patient-education content version linked to clinical topic. | Must | DPR v2.0 |
| SRS-KNW-011 | Clinical informatics | Provide review-expiry alerts. | Must | DPR v2.0 |
| SRS-KNW-012 | Clinical informatics | Prevent unapproved draft knowledge from appearing in production clinician workspace. | Must | DPR v2.0 |

# 8. Rust AI/ML Platform and Copilots

## 8.1 Model Registry and Lifecycle

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-AI-REG-001 | AI administrator | Maintain model registry with model ID, version, owner, intended use, risk class, framework/runtime and deployment status. | Must | DPR v2.0 |
| SRS-AI-REG-002 | AI administrator | Store training/evaluation dataset lineage summary and data-governance approval references. | Must | DPR v2.0 |
| SRS-AI-REG-003 | AI administrator | Store performance metrics by relevant cohort and operating threshold. | Must | DPR v2.0 |
| SRS-AI-REG-004 | AI administrator | Store known limitations, contraindicated uses and required human oversight. | Must | DPR v2.0 |
| SRS-AI-REG-005 | AI administrator | Support candidate, validated, approved, deployed, shadow, suspended and retired states. | Must | DPR v2.0 |
| SRS-AI-REG-006 | AI administrator | Require approval workflow before production deployment of high-risk models. | Must | DPR v2.0 |
| SRS-AI-REG-007 | AI administrator | Support immutable model artifact hash and provenance. | Must | DPR v2.0 |
| SRS-AI-REG-008 | AI administrator | Support rollback to prior approved model version. | Must | DPR v2.0 |
| SRS-AI-REG-009 | AI administrator | Support canary/shadow deployment. | Must | DPR v2.0 |
| SRS-AI-REG-010 | AI administrator | Support environment-specific endpoint/deployment configuration. | Must | DPR v2.0 |
| SRS-AI-REG-011 | AI administrator | Track model dependency on terminology/features/prompts/retrieval corpus versions. | Must | DPR v2.0 |
| SRS-AI-REG-012 | AI administrator | Support expiry/revalidation date. | Must | DPR v2.0 |
| SRS-AI-REG-013 | AI administrator | Support model card generation. | Must | DPR v2.0 |
| SRS-AI-REG-014 | AI administrator | Audit every lifecycle transition. | Must | DPR v2.0 |
| SRS-AI-REG-015 | AI administrator | Do not permit model artifact replacement under an existing immutable version. | Must | DPR v2.0 |

## 8.2 Feature, Inference and Evaluation Platform

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-AI-INF-001 | AI gateway | Expose a governed AI gateway so domain services do not call arbitrary models directly. | Must | DPR v2.0 |
| SRS-AI-INF-002 | AI gateway | Authenticate and authorize every inference request. | Must | DPR v2.0 |
| SRS-AI-INF-003 | AI gateway | Record purpose, tenant, invoking service, model/version, correlation ID and latency. | Must | DPR v2.0 |
| SRS-AI-INF-004 | AI gateway | Minimize input data to what intended use requires. | Must | DPR v2.0 |
| SRS-AI-INF-005 | AI gateway | Support structured inference contracts rather than free-form text where feasible. | Must | DPR v2.0 |
| SRS-AI-INF-006 | AI gateway | Support asynchronous inference for long-running workloads. | Must | DPR v2.0 |
| SRS-AI-INF-007 | AI gateway | Support confidence/uncertainty output where model supports it. | Must | DPR v2.0 |
| SRS-AI-INF-008 | AI gateway | Support explanation/evidence references appropriate to use case. | Must | DPR v2.0 |
| SRS-AI-INF-009 | AI gateway | Store human disposition for reviewed AI outputs. | Must | DPR v2.0 |
| SRS-AI-INF-010 | AI gateway | Support offline evaluation against curated gold-standard datasets. | Must | DPR v2.0 |
| SRS-AI-INF-011 | AI gateway | Support drift monitoring for input distribution and performance where labels become available. | Must | DPR v2.0 |
| SRS-AI-INF-012 | AI gateway | Support fairness/bias analysis for applicable models. | Must | DPR v2.0 |
| SRS-AI-INF-013 | AI gateway | Support cost/compute usage metrics by tenant/use case. | Must | DPR v2.0 |
| SRS-AI-INF-014 | AI gateway | Support inference timeout and deterministic fallback behavior. | Must | DPR v2.0 |
| SRS-AI-INF-015 | AI gateway | Never block core transaction flow when AI is optional. | Must | DPR v2.0 |
| SRS-AI-INF-016 | AI gateway | Support redaction/tokenization before sending data to external model providers where configured. | Must | DPR v2.0 |
| SRS-AI-INF-017 | AI gateway | Prohibit external provider use for PHI unless contract/configuration explicitly permits it. | Must | DPR v2.0 |
| SRS-AI-INF-018 | AI gateway | Support per-model rate limits and concurrency limits. | Must | DPR v2.0 |
| SRS-AI-INF-019 | AI gateway | Support prompt/template versioning for generative models. | Must | DPR v2.0 |
| SRS-AI-INF-020 | AI gateway | Support retrieval corpus versioning and access-aware retrieval. | Must | DPR v2.0 |
| SRS-AI-INF-021 | AI gateway | Prevent model from retrieving records outside user/service authorization context. | Must | DPR v2.0 |
| SRS-AI-INF-022 | AI gateway | Support test replay of inference using preserved versioned artifacts when policy allows. | Must | DPR v2.0 |

## 8.3 Role-specific Copilots

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-AI-COP-001 | AI platform | Provide Doctor Copilot for chart summarization, note structuring, result synthesis and coding suggestions under clinician confirmation. | Must | DPR v2.0 |
| SRS-AI-COP-002 | AI platform | Provide Nurse Copilot for handover summary, task prioritization and documentation assistance without autonomous medication administration. | Must | DPR v2.0 |
| SRS-AI-COP-003 | AI platform | Provide Pharmacist Copilot for prescription review assistance, stock alternatives and interaction evidence without bypassing pharmacist verification. | Must | DPR v2.0 |
| SRS-AI-COP-004 | AI platform | Provide Lab/Pathology Copilot for worklist prioritization and report-draft assistance without autonomous final sign-off. | Must | DPR v2.0 |
| SRS-AI-COP-005 | AI platform | Provide Radiology Copilot integration framework for prioritization/draft assistance subject to device/regulatory classification. | Must | DPR v2.0 |
| SRS-AI-COP-006 | AI platform | Provide Insurance Copilot for document completeness, query classification, denial risk and appeal drafting support. | Must | DPR v2.0 |
| SRS-AI-COP-007 | AI platform | Provide Hospital Operations Copilot for queue/capacity explanation and recommended operational actions. | Must | DPR v2.0 |
| SRS-AI-COP-008 | AI platform | Provide Facility Copilot for alarm summarization, maintenance history and anomaly explanation. | Must | DPR v2.0 |
| SRS-AI-COP-009 | AI platform | Provide Patient Assistant for navigation, preparation, administrative questions and care-plan reminders. | Must | DPR v2.0 |
| SRS-AI-COP-010 | AI platform | Clearly identify copilot output as AI-generated/assisted. | Must | DPR v2.0 |
| SRS-AI-COP-011 | AI platform | Show source/evidence links when available. | Must | DPR v2.0 |
| SRS-AI-COP-012 | AI platform | Require human confirmation before writing AI-generated content into finalized clinical record. | Must | DPR v2.0 |
| SRS-AI-COP-013 | AI platform | Support prohibited-action policy per copilot. | Must | DPR v2.0 |
| SRS-AI-COP-014 | AI platform | Prevent Patient Assistant from diagnosing or presenting itself as emergency-care substitute. | Must | DPR v2.0 |
| SRS-AI-COP-015 | AI platform | Maintain conversation retention and audit policy by copilot/use case. | Must | DPR v2.0 |
| SRS-AI-COP-016 | AI platform | Allow organization to disable individual copilot capabilities. | Must | DPR v2.0 |
| SRS-AI-COP-017 | AI platform | Support prompt-injection and retrieval-abuse protections. | Must | DPR v2.0 |
| SRS-AI-COP-018 | AI platform | Evaluate copilots for hallucination, unsafe advice, privacy leakage and task completion before release. | Must | DPR v2.0 |

# 9. Enterprise Data Platform, Lakehouse and Analytics

## 9.1 CDC, Lakehouse and Data Products

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-DATA-LH-001 | Data platform | Replicate operational data to analytics platform through CDC/events without running heavy BI queries on OLTP. | Must | DPR v2.0 |
| SRS-DATA-LH-002 | Data platform | Maintain source-system, tenant, schema-version and ingest timestamp metadata. | Must | DPR v2.0 |
| SRS-DATA-LH-003 | Data platform | Support bronze/raw, cleaned/conformed and curated/semantic layers or equivalent governed pattern. | Must | DPR v2.0 |
| SRS-DATA-LH-004 | Data platform | Encrypt analytics data at rest and in transit. | Must | DPR v2.0 |
| SRS-DATA-LH-005 | Data platform | Apply tenant and row/column access controls in analytics layer. | Must | DPR v2.0 |
| SRS-DATA-LH-006 | Data platform | Support tokenization/pseudonymization for analytics use cases not requiring direct identity. | Must | DPR v2.0 |
| SRS-DATA-LH-007 | Data platform | Maintain patient identity linkage through governed surrogate keys. | Must | DPR v2.0 |
| SRS-DATA-LH-008 | Data platform | Support late-arriving and corrected source records. | Must | DPR v2.0 |
| SRS-DATA-LH-009 | Data platform | Preserve event time and processing time. | Must | DPR v2.0 |
| SRS-DATA-LH-010 | Data platform | Support slowly changing dimensions for provider, organization, tariff and other master data. | Must | DPR v2.0 |
| SRS-DATA-LH-011 | Data platform | Maintain data-quality rules and quarantine failed records. | Must | DPR v2.0 |
| SRS-DATA-LH-012 | Data platform | Provide lineage from dashboard metric to source tables/events. | Must | DPR v2.0 |
| SRS-DATA-LH-013 | Data platform | Support replay/rebuild of derived datasets. | Must | DPR v2.0 |
| SRS-DATA-LH-014 | Data platform | Support retention and archival policies separate from OLTP. | Must | DPR v2.0 |
| SRS-DATA-LH-015 | Data platform | Prevent analytics transformation from becoming authoritative clinical source. | Must | DPR v2.0 |
| SRS-DATA-LH-016 | Data platform | Support de-identified/research data marts only under approved governance. | Must | DPR v2.0 |
| SRS-DATA-LH-017 | Data platform | Maintain export audit and data-use purpose. | Must | DPR v2.0 |
| SRS-DATA-LH-018 | Data platform | Support workload isolation between BI, ML feature computation and regulatory reporting. | Must | DPR v2.0 |

## 9.2 Semantic Metrics and BI

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-BI-001 | BI administrator | Define governed metric catalog with owner, formula, denominator, grain and refresh frequency. | Must | DPR v2.0 |
| SRS-BI-002 | BI administrator | Version KPI definitions and display version/effective date where material. | Must | DPR v2.0 |
| SRS-BI-003 | BI administrator | Support hospital, group, facility, specialty, payer, pharmacy, lab and operational dimensions. | Must | DPR v2.0 |
| SRS-BI-004 | BI administrator | Support row-level access based on organizational scope. | Must | DPR v2.0 |
| SRS-BI-005 | BI administrator | Support dashboard filters and saved views. | Must | DPR v2.0 |
| SRS-BI-006 | BI administrator | Support drill-through to authorized operational detail. | Must | DPR v2.0 |
| SRS-BI-007 | BI administrator | Support scheduled reports and secure distribution. | Must | DPR v2.0 |
| SRS-BI-008 | BI administrator | Prevent emailing raw PHI reports unless explicitly approved. | Must | DPR v2.0 |
| SRS-BI-009 | BI administrator | Support threshold alerts on governed metrics. | Must | DPR v2.0 |
| SRS-BI-010 | BI administrator | Provide data freshness indicator. | Must | DPR v2.0 |
| SRS-BI-011 | BI administrator | Provide reconciliation checks between finance dashboards and source ledgers. | Must | DPR v2.0 |
| SRS-BI-012 | BI administrator | Support cohort definitions as versioned objects. | Must | DPR v2.0 |
| SRS-BI-013 | BI administrator | Support self-service query on approved semantic model rather than unrestricted production SQL. | Must | DPR v2.0 |
| SRS-BI-014 | BI administrator | Audit report export/download. | Must | DPR v2.0 |
| SRS-BI-015 | BI administrator | Support performance caching without serving stale data beyond configured threshold. | Must | DPR v2.0 |

# 10. API Gateway and Developer Platform

## 10.1 API Management

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-API-MGT-001 | API platform | Expose external APIs through managed gateway separate from internal service network. | Must | DPR v2.0 |
| SRS-API-MGT-002 | API platform | Support OAuth2/OIDC, client credentials, signed webhooks and other approved auth patterns. | Must | DPR v2.0 |
| SRS-API-MGT-003 | API platform | Scope API permissions by tenant, organization, purpose and resource. | Must | DPR v2.0 |
| SRS-API-MGT-004 | API platform | Support per-client rate limit, quota and burst policy. | Must | DPR v2.0 |
| SRS-API-MGT-005 | API platform | Support request/response size limits. | Must | DPR v2.0 |
| SRS-API-MGT-006 | API platform | Support API versioning and deprecation policy. | Must | DPR v2.0 |
| SRS-API-MGT-007 | API platform | Publish machine-readable OpenAPI/FHIR/Protobuf-derived documentation as applicable. | Must | DPR v2.0 |
| SRS-API-MGT-008 | API platform | Provide sandbox environment and synthetic test data. | Must | DPR v2.0 |
| SRS-API-MGT-009 | API platform | Support idempotency keys for create/payment/order/claim operations. | Must | DPR v2.0 |
| SRS-API-MGT-010 | API platform | Provide correlation IDs and standardized error model. | Must | DPR v2.0 |
| SRS-API-MGT-011 | API platform | Mask sensitive fields from gateway logs. | Must | DPR v2.0 |
| SRS-API-MGT-012 | API platform | Support WAF/API abuse detection. | Must | DPR v2.0 |
| SRS-API-MGT-013 | API platform | Support client credential rotation. | Must | DPR v2.0 |
| SRS-API-MGT-014 | API platform | Support mTLS for high-trust integrations where required. | Must | DPR v2.0 |
| SRS-API-MGT-015 | API platform | Maintain API access audit. | Must | DPR v2.0 |
| SRS-API-MGT-016 | API platform | Provide usage analytics by client and endpoint. | Must | DPR v2.0 |
| SRS-API-MGT-017 | API platform | Support contractual SLA tiers. | Must | DPR v2.0 |
| SRS-API-MGT-018 | API platform | Block cross-tenant identifier substitution/IDOR through backend authorization. | Must | DPR v2.0 |
| SRS-API-MGT-019 | API platform | Support consent/purpose check for patient-data APIs. | Must | DPR v2.0 |

## 10.2 Webhooks and Event Subscriptions

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-API-EVT-001 | Developer platform | Allow authorized partners to subscribe only to approved event types. | Must | DPR v2.0 |
| SRS-API-EVT-002 | Developer platform | Sign webhook payloads and include timestamp/unique delivery ID. | Must | DPR v2.0 |
| SRS-API-EVT-003 | Developer platform | Support replay protection. | Must | DPR v2.0 |
| SRS-API-EVT-004 | Developer platform | Retry failed webhook delivery with bounded backoff. | Must | DPR v2.0 |
| SRS-API-EVT-005 | Developer platform | Provide partner-visible delivery history. | Must | DPR v2.0 |
| SRS-API-EVT-006 | Developer platform | Support endpoint verification before activation. | Must | DPR v2.0 |
| SRS-API-EVT-007 | Developer platform | Allow suspension on repeated failure or security issue. | Must | DPR v2.0 |
| SRS-API-EVT-008 | Developer platform | Minimize payload and provide resource reference when full data is unnecessary. | Must | DPR v2.0 |
| SRS-API-EVT-009 | Developer platform | Respect patient consent/purpose restrictions for data-bearing events. | Must | DPR v2.0 |
| SRS-API-EVT-010 | Developer platform | Support secret/key rotation without downtime. | Must | DPR v2.0 |
| SRS-API-EVT-011 | Developer platform | Provide event schema version. | Must | DPR v2.0 |
| SRS-API-EVT-012 | Developer platform | Maintain delivery audit. | Must | DPR v2.0 |
| SRS-API-EVT-013 | Developer platform | Support test webhook from sandbox. | Must | DPR v2.0 |
| SRS-API-EVT-014 | Developer platform | Prevent subscriber from selecting another tenant's resources. | Must | DPR v2.0 |

## 10.3 Developer Portal and Certification

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-DEV-001 | External developer | Provide application registration and credential lifecycle. | Must | DPR v2.0 |
| SRS-DEV-002 | External developer | Provide API documentation, examples and changelog. | Must | DPR v2.0 |
| SRS-DEV-003 | External developer | Provide sandbox with non-production identities. | Must | DPR v2.0 |
| SRS-DEV-004 | External developer | Provide conformance test suites for selected healthcare integrations. | Must | DPR v2.0 |
| SRS-DEV-005 | External developer | Support partner certification status and expiry. | Must | DPR v2.0 |
| SRS-DEV-006 | External developer | Require security/contact metadata for production apps. | Must | DPR v2.0 |
| SRS-DEV-007 | External developer | Support terms/data-use acceptance versioning. | Must | DPR v2.0 |
| SRS-DEV-008 | External developer | Provide webhook/API troubleshooting logs with redaction. | Must | DPR v2.0 |
| SRS-DEV-009 | External developer | Provide quota usage dashboard. | Must | DPR v2.0 |
| SRS-DEV-010 | External developer | Support support-ticket link to correlation ID. | Must | DPR v2.0 |
| SRS-DEV-011 | External developer | Provide migration guide before breaking/deprecated version retirement. | Must | DPR v2.0 |
| SRS-DEV-012 | External developer | Require re-certification for configured high-impact integration changes. | Must | DPR v2.0 |

# 11. Cybersecurity, SOC and Privacy Engineering

## 11.1 Identity, Access and Privileged Security

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CYB-IAM-001 | Security | Centralize workforce identity federation using OIDC/SAML-compatible enterprise identity where configured. | Must | DPR v2.0 |
| SRS-CYB-IAM-002 | Security | Require MFA for privileged and remote administrative access. | Must | DPR v2.0 |
| SRS-CYB-IAM-003 | Security | Support phishing-resistant MFA for highest privilege roles where infrastructure permits. | Must | DPR v2.0 |
| SRS-CYB-IAM-004 | Security | Implement least privilege RBAC/ABAC and periodic access review. | Must | DPR v2.0 |
| SRS-CYB-IAM-005 | Security | Separate platform, database, cloud, OT and application administrator roles. | Must | DPR v2.0 |
| SRS-CYB-IAM-006 | Security | Use privileged access management or controlled just-in-time elevation for sensitive infrastructure. | Must | DPR v2.0 |
| SRS-CYB-IAM-007 | Security | Record privileged session/activity where technically feasible. | Must | DPR v2.0 |
| SRS-CYB-IAM-008 | Security | Disable shared administrator accounts except break-glass accounts under controlled custody. | Must | DPR v2.0 |
| SRS-CYB-IAM-009 | Security | Rotate service credentials and secrets automatically where possible. | Must | DPR v2.0 |
| SRS-CYB-IAM-010 | Security | Use workload identity instead of static credentials between services. | Must | DPR v2.0 |
| SRS-CYB-IAM-011 | Security | Review orphaned accounts and stale privileges. | Must | DPR v2.0 |
| SRS-CYB-IAM-012 | Security | Enforce separation of duties for production deployment, key management and audit review. | Must | DPR v2.0 |
| SRS-CYB-IAM-013 | Security | Support emergency break-glass with strong audit and post-use review. | Must | DPR v2.0 |
| SRS-CYB-IAM-014 | Security | Terminate/revoke access promptly on workforce separation. | Must | DPR v2.0 |

## 11.2 Secure SDLC and Supply Chain

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CYB-SDLC-001 | AppSec | Require peer review and protected branches for production code. | Must | DPR v2.0 |
| SRS-CYB-SDLC-002 | AppSec | Run SAST, dependency, secret, container and IaC scans in CI. | Must | DPR v2.0 |
| SRS-CYB-SDLC-003 | AppSec | Generate SBOM for production releases. | Must | DPR v2.0 |
| SRS-CYB-SDLC-004 | AppSec | Verify provenance/signatures of build artifacts where toolchain supports it. | Must | DPR v2.0 |
| SRS-CYB-SDLC-005 | AppSec | Pin/approve critical dependencies and monitor vulnerabilities. | Must | DPR v2.0 |
| SRS-CYB-SDLC-006 | AppSec | Block production release for unresolved critical vulnerabilities unless formally risk-accepted. | Must | DPR v2.0 |
| SRS-CYB-SDLC-007 | AppSec | Perform DAST/API security testing on representative environments. | Must | DPR v2.0 |
| SRS-CYB-SDLC-008 | AppSec | Maintain threat models for high-risk domains and integrations. | Must | DPR v2.0 |
| SRS-CYB-SDLC-009 | AppSec | Run tenant-isolation and authorization-negative tests. | Must | DPR v2.0 |
| SRS-CYB-SDLC-010 | AppSec | Perform periodic independent penetration tests. | Must | DPR v2.0 |
| SRS-CYB-SDLC-011 | AppSec | Track remediation SLA by severity. | Must | DPR v2.0 |
| SRS-CYB-SDLC-012 | AppSec | Use separate production secrets; never copy them to lower environments. | Must | DPR v2.0 |
| SRS-CYB-SDLC-013 | AppSec | Restrict use of production PHI in development/test. | Must | DPR v2.0 |
| SRS-CYB-SDLC-014 | AppSec | Use signed/container image registry controls. | Must | DPR v2.0 |
| SRS-CYB-SDLC-015 | AppSec | Maintain release provenance from commit to deployed artifact. | Must | DPR v2.0 |

## 11.3 SOC, Detection and Incident Response

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SOC-001 | SOC analyst | Centralize security-relevant logs from identity, API, cloud, database, application, endpoint/gateway and OT sources as available. | Must | DPR v2.0 |
| SRS-SOC-002 | SOC analyst | Normalize high-value events with tenant/user/resource context. | Must | DPR v2.0 |
| SRS-SOC-003 | SOC analyst | Define detections for account takeover, impossible/abnormal access, privilege escalation, mass export, API abuse and suspicious admin activity. | Must | DPR v2.0 |
| SRS-SOC-004 | SOC analyst | Define detections for repeated cross-tenant authorization failures. | Must | DPR v2.0 |
| SRS-SOC-005 | SOC analyst | Alert on unusual clinical-record access volume subject to privacy monitoring policy. | Must | DPR v2.0 |
| SRS-SOC-006 | SOC analyst | Alert on secrets/certificate expiry and unauthorized configuration change. | Must | DPR v2.0 |
| SRS-SOC-007 | SOC analyst | Provide incident case management with evidence preservation. | Must | DPR v2.0 |
| SRS-SOC-008 | SOC analyst | Support severity, owner, SLA and containment actions. | Must | DPR v2.0 |
| SRS-SOC-009 | SOC analyst | Support account/session/token revocation during incident. | Must | DPR v2.0 |
| SRS-SOC-010 | SOC analyst | Support tenant/customer notification workflow when required. | Must | DPR v2.0 |
| SRS-SOC-011 | SOC analyst | Preserve forensic logs with integrity controls. | Must | DPR v2.0 |
| SRS-SOC-012 | SOC analyst | Maintain tabletop exercises and incident runbooks. | Must | DPR v2.0 |
| SRS-SOC-013 | SOC analyst | Support OT-specific detection and escalation without active scanning that could jeopardize plant safety. | Must | DPR v2.0 |
| SRS-SOC-014 | SOC analyst | Measure MTTD, MTTA and MTTR for security incidents. | Must | DPR v2.0 |
| SRS-SOC-015 | SOC analyst | Conduct post-incident review and corrective actions. | Must | DPR v2.0 |

## 11.4 Data Security and Key Management

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CYB-DAT-001 | Security | Encrypt databases, object stores, backups and analytics stores at rest. | Must | DPR v2.0 |
| SRS-CYB-DAT-002 | Security | Use TLS for service/client communication. | Must | DPR v2.0 |
| SRS-CYB-DAT-003 | Security | Centralize key management with rotation policy. | Must | DPR v2.0 |
| SRS-CYB-DAT-004 | Security | Support tenant/customer-managed keys for enterprise profile where feasible. | Must | DPR v2.0 |
| SRS-CYB-DAT-005 | Security | Separate encryption keys from encrypted data access roles. | Must | DPR v2.0 |
| SRS-CYB-DAT-006 | Security | Protect highly sensitive fields with additional encryption/tokenization where justified. | Must | DPR v2.0 |
| SRS-CYB-DAT-007 | Security | Mask identifiers and sensitive data in ordinary logs. | Must | DPR v2.0 |
| SRS-CYB-DAT-008 | Security | Use expiring signed URLs/grants for document downloads. | Must | DPR v2.0 |
| SRS-CYB-DAT-009 | Security | Prevent public object-store access. | Must | DPR v2.0 |
| SRS-CYB-DAT-010 | Security | Validate backup encryption and restore under key rotation. | Must | DPR v2.0 |
| SRS-CYB-DAT-011 | Security | Support cryptographic key revocation/rotation incident procedure. | Must | DPR v2.0 |
| SRS-CYB-DAT-012 | Security | Audit key administration. | Must | DPR v2.0 |
| SRS-CYB-DAT-013 | Security | Maintain data-classification labels to drive controls. | Must | DPR v2.0 |
| SRS-CYB-DAT-014 | Security | Prevent uncontrolled data export to unmanaged destinations. | Must | DPR v2.0 |

# 12. SRE, Observability and Reliability

## 12.1 Observability

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SRE-OBS-001 | SRE | Instrument services with OpenTelemetry-compatible traces, metrics and structured logs. | Must | DPR v2.0 |
| SRS-SRE-OBS-002 | SRE | Propagate correlation/trace IDs across browser/mobile, gateway, RPC, workflow, event and external adapter boundaries. | Must | DPR v2.0 |
| SRS-SRE-OBS-003 | SRE | Exclude PHI/secrets from routine telemetry by default. | Must | DPR v2.0 |
| SRS-SRE-OBS-004 | SRE | Define service-level indicators for availability, latency, errors, saturation and queue lag. | Must | DPR v2.0 |
| SRS-SRE-OBS-005 | SRE | Define domain SLIs for orders, lab results, claims, pharmacy and other critical workflows. | Must | DPR v2.0 |
| SRS-SRE-OBS-006 | SRE | Provide dashboards by service and business transaction. | Must | DPR v2.0 |
| SRS-SRE-OBS-007 | SRE | Alert on symptoms/SLO burn rather than only infrastructure thresholds. | Must | DPR v2.0 |
| SRS-SRE-OBS-008 | SRE | Provide distributed trace sampling controls. | Must | DPR v2.0 |
| SRS-SRE-OBS-009 | SRE | Support log retention tiers and secure search. | Must | DPR v2.0 |
| SRS-SRE-OBS-010 | SRE | Monitor DB pool, locks, slow queries and replication. | Must | DPR v2.0 |
| SRS-SRE-OBS-011 | SRE | Monitor event-bus lag, dead letters and consumer failures. | Must | DPR v2.0 |
| SRS-SRE-OBS-012 | SRE | Monitor workflow stuck instances and timer delays. | Must | DPR v2.0 |
| SRS-SRE-OBS-013 | SRE | Monitor external integration latency/failure separately. | Must | DPR v2.0 |
| SRS-SRE-OBS-014 | SRE | Provide release/deployment annotations on dashboards. | Must | DPR v2.0 |
| SRS-SRE-OBS-015 | SRE | Provide synthetic health checks for critical user journeys. | Must | DPR v2.0 |
| SRS-SRE-OBS-016 | SRE | Maintain on-call routing and escalation. | Must | DPR v2.0 |
| SRS-SRE-OBS-017 | SRE | Provide runbook links from actionable alerts. | Must | DPR v2.0 |

## 12.2 Capacity, Performance and Resilience

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SRE-REL-001 | SRE | Define workload models for small clinic, hospital, large group and network marketplace profiles. | Must | DPR v2.0 |
| SRS-SRE-REL-002 | SRE | Load test critical APIs and high-volume event paths before enterprise release. | Must | DPR v2.0 |
| SRS-SRE-REL-003 | SRE | Support horizontal scale for stateless API workers. | Must | DPR v2.0 |
| SRS-SRE-REL-004 | SRE | Define concurrency controls for expensive jobs and integrations. | Must | DPR v2.0 |
| SRS-SRE-REL-005 | SRE | Use connection pooling and bounded queues. | Must | DPR v2.0 |
| SRS-SRE-REL-006 | SRE | Use backpressure rather than unbounded memory/queue growth. | Must | DPR v2.0 |
| SRS-SRE-REL-007 | SRE | Apply circuit breakers/timeouts for external services. | Must | DPR v2.0 |
| SRS-SRE-REL-008 | SRE | Implement retry only for idempotent/retry-safe operations. | Must | DPR v2.0 |
| SRS-SRE-REL-009 | SRE | Use bulkheads to isolate failing integrations from core clinical operations. | Must | DPR v2.0 |
| SRS-SRE-REL-010 | SRE | Support graceful degradation when optional AI/search/analytics services fail. | Must | DPR v2.0 |
| SRS-SRE-REL-011 | SRE | Cache only data with explicit freshness/invalidation rules. | Must | DPR v2.0 |
| SRS-SRE-REL-012 | SRE | Prevent cache from becoming authoritative financial/clinical source. | Must | DPR v2.0 |
| SRS-SRE-REL-013 | SRE | Partition/archive high-volume audit, observation, event and telemetry data as needed. | Must | DPR v2.0 |
| SRS-SRE-REL-014 | SRE | Perform chaos/failure testing for selected infrastructure dependencies. | Must | DPR v2.0 |
| SRS-SRE-REL-015 | SRE | Measure capacity headroom and forecast saturation. | Must | DPR v2.0 |

## 12.3 Deployment and Release Engineering

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-SRE-DEP-001 | Platform engineering | Use infrastructure-as-code for cloud/platform resources. | Must | DPR v2.0 |
| SRS-SRE-DEP-002 | Platform engineering | Use GitOps or equivalently auditable deployment automation. | Must | DPR v2.0 |
| SRS-SRE-DEP-003 | Platform engineering | Separate dev, test, UAT, performance, preprod and production environments. | Must | DPR v2.0 |
| SRS-SRE-DEP-004 | Platform engineering | Support blue/green or canary release for high-risk services. | Must | DPR v2.0 |
| SRS-SRE-DEP-005 | Platform engineering | Use expand/contract database migration pattern for rolling compatibility. | Must | DPR v2.0 |
| SRS-SRE-DEP-006 | Platform engineering | Prevent destructive DB migration before old application versions are drained. | Must | DPR v2.0 |
| SRS-SRE-DEP-007 | Platform engineering | Run automated smoke tests after deployment. | Must | DPR v2.0 |
| SRS-SRE-DEP-008 | Platform engineering | Support feature flags independent of binary deployment. | Must | DPR v2.0 |
| SRS-SRE-DEP-009 | Platform engineering | Record deployed artifact versions by environment. | Must | DPR v2.0 |
| SRS-SRE-DEP-010 | Platform engineering | Support fast rollback or roll-forward plan. | Must | DPR v2.0 |
| SRS-SRE-DEP-011 | Platform engineering | Require change approval for high-risk production changes. | Must | DPR v2.0 |
| SRS-SRE-DEP-012 | Platform engineering | Prevent direct manual production drift where IaC/GitOps owns configuration. | Must | DPR v2.0 |
| SRS-SRE-DEP-013 | Platform engineering | Track configuration drift. | Must | DPR v2.0 |
| SRS-SRE-DEP-014 | Platform engineering | Support maintenance windows and customer communication. | Must | DPR v2.0 |
| SRS-SRE-DEP-015 | Platform engineering | Provide release notes and known-impact metadata. | Must | DPR v2.0 |

# 13. Downtime, Backup and Disaster Recovery

## 13.1 Healthcare Downtime Mode

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-DR-DOWN-001 | Hospital operations / SRE | Classify workflows by downtime criticality: Tier 0 life/safety continuity, Tier 1 urgent operations, Tier 2 deferrable. | Must | DPR v2.0 |
| SRS-DR-DOWN-002 | Hospital operations / SRE | Provide downtime patient registration/MRN or temporary identifier strategy for approved deployment profiles. | Must | DPR v2.0 |
| SRS-DR-DOWN-003 | Hospital operations / SRE | Provide continuity for selected medication administration/order viewing according to site downtime design. | Must | DPR v2.0 |
| SRS-DR-DOWN-004 | Hospital operations / SRE | Provide lab/specimen label continuity strategy with later reconciliation. | Must | DPR v2.0 |
| SRS-DR-DOWN-005 | Hospital operations / SRE | Provide pharmacy dispensing continuity strategy with later stock/charge reconciliation. | Must | DPR v2.0 |
| SRS-DR-DOWN-006 | Hospital operations / SRE | Provide emergency/bed census continuity where required. | Must | DPR v2.0 |
| SRS-DR-DOWN-007 | Hospital operations / SRE | Clearly mark locally cached data freshness and last synchronization time. | Must | DPR v2.0 |
| SRS-DR-DOWN-008 | Hospital operations / SRE | Use encrypted local edge storage with access control. | Must | DPR v2.0 |
| SRS-DR-DOWN-009 | Hospital operations / SRE | Queue offline mutations only where reconciliation semantics are defined. | Must | DPR v2.0 |
| SRS-DR-DOWN-010 | Hospital operations / SRE | Prevent silent conflict overwrite during resynchronization. | Must | DPR v2.0 |
| SRS-DR-DOWN-011 | Hospital operations / SRE | Provide downtime start/end declaration and operational banner. | Must | DPR v2.0 |
| SRS-DR-DOWN-012 | Hospital operations / SRE | Provide printed/manual fallback procedures where digital continuity is not available. | Must | DPR v2.0 |
| SRS-DR-DOWN-013 | Hospital operations / SRE | Reconcile temporary patient identifiers after restoration using controlled merge workflow. | Must | DPR v2.0 |
| SRS-DR-DOWN-014 | Hospital operations / SRE | Reconcile financial/inventory transactions with duplicate detection. | Must | DPR v2.0 |
| SRS-DR-DOWN-015 | Hospital operations / SRE | Audit downtime/offline actions. | Must | DPR v2.0 |
| SRS-DR-DOWN-016 | Hospital operations / SRE | Test downtime mode at planned intervals. | Must | DPR v2.0 |

## 13.2 Backup, Restore and DR

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-DR-001 | SRE / DR | Define service tiers with explicit RPO/RTO per domain. | Must | DPR v2.0 |
| SRS-DR-002 | SRE / DR | Maintain encrypted automated backups of PostgreSQL, object storage metadata/configuration and critical platform state. | Must | DPR v2.0 |
| SRS-DR-003 | SRE / DR | Maintain point-in-time recovery for core databases within configured retention. | Must | DPR v2.0 |
| SRS-DR-004 | SRE / DR | Use immutable or write-protected backup copy for ransomware resilience. | Must | DPR v2.0 |
| SRS-DR-005 | SRE / DR | Store backup copies across failure domains/regions/sites according to deployment profile. | Must | DPR v2.0 |
| SRS-DR-006 | SRE / DR | Test restore regularly using isolated environment. | Must | DPR v2.0 |
| SRS-DR-007 | SRE / DR | Verify restored data consistency and application startup. | Must | DPR v2.0 |
| SRS-DR-008 | SRE / DR | Maintain backup inventory and alert on missed backup. | Must | DPR v2.0 |
| SRS-DR-009 | SRE / DR | Document dependency order for full-platform recovery. | Must | DPR v2.0 |
| SRS-DR-010 | SRE / DR | Support disaster declaration and failover authority. | Must | DPR v2.0 |
| SRS-DR-011 | SRE / DR | Replicate critical configuration/secrets through approved DR mechanism. | Must | DPR v2.0 |
| SRS-DR-012 | SRE / DR | Test DNS/routing/failover procedures. | Must | DPR v2.0 |
| SRS-DR-013 | SRE / DR | Test event/workflow recovery without double-processing. | Must | DPR v2.0 |
| SRS-DR-014 | SRE / DR | Test object/document availability after DR. | Must | DPR v2.0 |
| SRS-DR-015 | SRE / DR | Measure achieved RPO/RTO during drills. | Must | DPR v2.0 |
| SRS-DR-016 | SRE / DR | Maintain DR runbook and post-drill corrective actions. | Must | DPR v2.0 |

# 14. Enterprise Integration Infrastructure

## 14.1 Integration Hub

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-INT-HUB-001 | Integration team | Provide managed adapter framework for FHIR, HL7 v2, DICOM/DICOMweb, NHCX, ABDM, devices, payment, ERP and vendor APIs. | Must | DPR v2.0 |
| SRS-INT-HUB-002 | Integration team | Separate canonical domain contracts from vendor-specific mappings. | Must | DPR v2.0 |
| SRS-INT-HUB-003 | Integration team | Version mapping/configuration per partner. | Must | DPR v2.0 |
| SRS-INT-HUB-004 | Integration team | Support synchronous API, asynchronous event, file and message-based interfaces. | Must | DPR v2.0 |
| SRS-INT-HUB-005 | Integration team | Support SFTP/file pickup only through hardened managed connector. | Must | DPR v2.0 |
| SRS-INT-HUB-006 | Integration team | Validate inbound schema before domain processing. | Must | DPR v2.0 |
| SRS-INT-HUB-007 | Integration team | Quarantine invalid messages. | Must | DPR v2.0 |
| SRS-INT-HUB-008 | Integration team | Support correlation, idempotency and replay. | Must | DPR v2.0 |
| SRS-INT-HUB-009 | Integration team | Maintain message status and operational dashboard. | Must | DPR v2.0 |
| SRS-INT-HUB-010 | Integration team | Mask sensitive payload fields in logs. | Must | DPR v2.0 |
| SRS-INT-HUB-011 | Integration team | Support transformation test harness. | Must | DPR v2.0 |
| SRS-INT-HUB-012 | Integration team | Support partner-specific throttling. | Must | DPR v2.0 |
| SRS-INT-HUB-013 | Integration team | Support maintenance windows and endpoint failover configuration. | Must | DPR v2.0 |
| SRS-INT-HUB-014 | Integration team | Provide certificate/key expiry monitoring. | Must | DPR v2.0 |
| SRS-INT-HUB-015 | Integration team | Retain only necessary payload copies per integration retention policy. | Must | DPR v2.0 |
| SRS-INT-HUB-016 | Integration team | Support environment-specific endpoints and credentials. | Must | DPR v2.0 |
| SRS-INT-HUB-017 | Integration team | Support adapter disablement without taking down core domain. | Must | DPR v2.0 |
| SRS-INT-HUB-018 | Integration team | Provide reconciliation report for interfaces where completeness matters. | Must | DPR v2.0 |

## 14.2 Master Data and Configuration Synchronization

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-INT-MDM-001 | Integration administrator | Define authoritative source per shared master domain. | Must | DPR v2.0 |
| SRS-INT-MDM-002 | Integration administrator | Support inbound/outbound synchronization for provider, facility, service, item and financial masters where configured. | Must | DPR v2.0 |
| SRS-INT-MDM-003 | Integration administrator | Detect conflicting ownership rather than last-write-wins across systems. | Must | DPR v2.0 |
| SRS-INT-MDM-004 | Integration administrator | Support mapping tables with effective dates. | Must | DPR v2.0 |
| SRS-INT-MDM-005 | Integration administrator | Support approval for unmapped new external codes. | Must | DPR v2.0 |
| SRS-INT-MDM-006 | Integration administrator | Support inactive/deleted source handling. | Must | DPR v2.0 |
| SRS-INT-MDM-007 | Integration administrator | Provide synchronization status and exception queue. | Must | DPR v2.0 |
| SRS-INT-MDM-008 | Integration administrator | Support bulk initial load and incremental update. | Must | DPR v2.0 |
| SRS-INT-MDM-009 | Integration administrator | Maintain source identifier and provenance. | Must | DPR v2.0 |
| SRS-INT-MDM-010 | Integration administrator | Prevent cross-tenant mapping collision. | Must | DPR v2.0 |
| SRS-INT-MDM-011 | Integration administrator | Provide reconciliation counts and mismatch report. | Must | DPR v2.0 |
| SRS-INT-MDM-012 | Integration administrator | Support rollback of erroneous mapping/configuration change. | Must | DPR v2.0 |

# 15. Multi-country and Localization Architecture

## 15.1 Country Pack Framework

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CTRY-001 | Country administrator | Represent country pack as versioned configuration/module bundle independent of core healthcare domain. | Must | DPR v2.0 |
| SRS-CTRY-002 | Country administrator | Support country-specific patient identifiers and validation. | Must | DPR v2.0 |
| SRS-CTRY-003 | Country administrator | Support address, phone, name and demographic conventions. | Must | DPR v2.0 |
| SRS-CTRY-004 | Country administrator | Support currency and number/date/time formats. | Must | DPR v2.0 |
| SRS-CTRY-005 | Country administrator | Support tax configuration and invoice requirements. | Must | DPR v2.0 |
| SRS-CTRY-006 | Country administrator | Support payer/claims adapter differences. | Must | DPR v2.0 |
| SRS-CTRY-007 | Country administrator | Support pharmacy/drug control flags and document requirements as configuration/integration layer. | Must | DPR v2.0 |
| SRS-CTRY-008 | Country administrator | Support privacy notice, retention and rights workflow configuration by jurisdiction. | Must | DPR v2.0 |
| SRS-CTRY-009 | Country administrator | Support local coding/terminology packages and mappings. | Must | DPR v2.0 |
| SRS-CTRY-010 | Country administrator | Support local language packs and translations. | Must | DPR v2.0 |
| SRS-CTRY-011 | Country administrator | Support national health exchange adapters separately from core patient record. | Must | DPR v2.0 |
| SRS-CTRY-012 | Country administrator | Support country-specific payroll/statutory outputs through dedicated adapters. | Must | DPR v2.0 |
| SRS-CTRY-013 | Country administrator | Support country-specific e-invoice/e-tax interfaces where needed. | Must | DPR v2.0 |
| SRS-CTRY-014 | Country administrator | Allow tenant to operate facilities in multiple countries without mixing country rules. | Must | DPR v2.0 |
| SRS-CTRY-015 | Country administrator | Resolve rule scope by legal entity/facility and effective date. | Must | DPR v2.0 |
| SRS-CTRY-016 | Country administrator | Require legal/compliance review before activating a new country pack. | Must | DPR v2.0 |
| SRS-CTRY-017 | Country administrator | Provide country-pack regression test suite. | Must | DPR v2.0 |
| SRS-CTRY-018 | Country administrator | Version country-pack dependencies on terminology/integration schemas. | Must | DPR v2.0 |

## 15.2 Localization and Time Handling

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-LOC-001 | Platform | Store timestamps in canonical UTC with source/local timezone context where clinically/operationally important. | Must | DPR v2.0 |
| SRS-LOC-002 | Platform | Display dates/times in facility/user-configured timezone. | Must | DPR v2.0 |
| SRS-LOC-003 | Platform | Handle daylight-saving transitions for countries that observe them. | Must | DPR v2.0 |
| SRS-LOC-004 | Platform | Preserve original source timezone for imported events. | Must | DPR v2.0 |
| SRS-LOC-005 | Platform | Support locale-aware number/currency formatting. | Must | DPR v2.0 |
| SRS-LOC-006 | Platform | Support Unicode names and multilingual text. | Must | DPR v2.0 |
| SRS-LOC-007 | Platform | Support right-to-left UI capability as future-ready design where chosen languages require it. | Must | DPR v2.0 |
| SRS-LOC-008 | Platform | Do not translate clinical code meanings by ad-hoc machine translation when governed terminology display exists. | Must | DPR v2.0 |
| SRS-LOC-009 | Platform | Support translation workflow/versioning for patient-facing regulated content. | Must | DPR v2.0 |
| SRS-LOC-010 | Platform | Support country-specific public holiday calendars for SLA/payroll scheduling. | Must | DPR v2.0 |

# 16. Enterprise Administration and Configuration Control

## 16.1 Feature Flags and Tenant Configuration

| ID | Actor | Requirement | Pri | Trace |
| --- | --- | --- | --- | --- |
| SRS-CFG-001 | Platform administrator | Support feature flags scoped by environment, tenant, facility, role and cohort where appropriate. | Must | DPR v2.0 |
| SRS-CFG-002 | Platform administrator | Separate product entitlement from temporary feature rollout flag. | Must | DPR v2.0 |
| SRS-CFG-003 | Platform administrator | Audit all production flag changes. | Must | DPR v2.0 |
| SRS-CFG-004 | Platform administrator | Support scheduled activation/deactivation. | Must | DPR v2.0 |
| SRS-CFG-005 | Platform administrator | Support kill switch for faulty optional capability. | Must | DPR v2.0 |
| SRS-CFG-006 | Platform administrator | Prevent flag combinations that violate declared dependencies. | Must | DPR v2.0 |
| SRS-CFG-007 | Platform administrator | Validate configuration package before promotion. | Must | DPR v2.0 |
| SRS-CFG-008 | Platform administrator | Support configuration diff between environments/tenants. | Must | DPR v2.0 |
| SRS-CFG-009 | Platform administrator | Support export/import with secrets excluded. | Must | DPR v2.0 |
| SRS-CFG-010 | Platform administrator | Support maker-checker for critical production configuration. | Must | DPR v2.0 |
| SRS-CFG-011 | Platform administrator | Maintain effective-date history. | Must | DPR v2.0 |
| SRS-CFG-012 | Platform administrator | Provide configuration backup and restore. | Must | DPR v2.0 |
| SRS-CFG-013 | Platform administrator | Prevent direct DB edits as normal configuration method. | Must | DPR v2.0 |
| SRS-CFG-014 | Platform administrator | Expose configuration health/dependency errors. | Must | DPR v2.0 |
| SRS-CFG-015 | Platform administrator | Support baseline templates for hospital types while allowing tenant overrides. | Must | DPR v2.0 |

# 17. Protobuf / ConnectRPC Service Catalogue

| Service | Representative RPCs |
| --- | --- |
| ScadaAssetService | RegisterAsset; RegisterPoint; UpdateMapping; RetireAsset; ListTopology |
| TelemetryService | Ingest; QueryTrend; GetLatest; GetQuality |
| AlarmService | Raise; Acknowledge; Shelve; Clear; Escalate; LinkWorkOrder |
| CommandCenterService | GetOperationalSnapshot; GetExceptions; CreateEscalation |
| WorkflowDefinitionService | CreateDraft; Validate; Approve; Activate; Retire; Diff |
| WorkflowRuntimeService | Start; Signal; Pause; Resume; Cancel; Retry; GetState |
| TaskService | Claim; Complete; Delegate; Reassign; Escalate; SearchInbox |
| RuleService | Evaluate; Simulate; ActivateVersion; GetExplanation |
| FormSchemaService | Create; Validate; Publish; Retire; GetVersion |
| TemplateService | Render; Preview; Publish; Retire |
| TerminologyService | Search; ValidateCode; ExpandValueSet; Translate; GetConcept |
| KnowledgeService | GetOrderSet; GetPathway; Calculate; RecordUse |
| ModelRegistryService | Register; Approve; Deploy; Suspend; Rollback; GetModelCard |
| InferenceService | Infer; InferAsync; GetResult; SubmitHumanDisposition |
| AnalyticsCatalogService | GetMetric; QuerySemanticModel; GetLineage |
| ApiClientService | RegisterClient; RotateCredential; SetQuota; Revoke |
| WebhookService | Subscribe; VerifyEndpoint; Replay; GetDeliveries |
| SecurityEventService | CreateCase; AddEvidence; Contain; Close |
| ObservabilityService | GetSLO; GetServiceHealth; GetIntegrationHealth |
| DRService | GetBackupStatus; StartRestoreTest; RecordDrill |
| IntegrationHubService | SubmitMessage; Replay; GetStatus; Reconcile |
| CountryPackService | Install; Validate; Activate; GetEffectiveConfig |

# 18. Domain Events

| ID | Event |
| --- | --- |
| EVT-P6-001 | scada.asset_registered |
| EVT-P6-002 | scada.telemetry_received |
| EVT-P6-003 | scada.alarm_raised |
| EVT-P6-004 | scada.alarm_acknowledged |
| EVT-P6-005 | scada.excursion_started |
| EVT-P6-006 | scada.excursion_closed |
| EVT-P6-007 | workflow.definition_activated |
| EVT-P6-008 | workflow.started |
| EVT-P6-009 | workflow.task_created |
| EVT-P6-010 | workflow.sla_breached |
| EVT-P6-011 | workflow.completed |
| EVT-P6-012 | workflow.failed |
| EVT-P6-013 | rule.version_activated |
| EVT-P6-014 | rule.evaluated |
| EVT-P6-015 | rule.overridden |
| EVT-P6-016 | form.version_published |
| EVT-P6-017 | template.version_published |
| EVT-P6-018 | terminology.mapping_approved |
| EVT-P6-019 | knowledge.artifact_activated |
| EVT-P6-020 | ai.model_registered |
| EVT-P6-021 | ai.model_deployed |
| EVT-P6-022 | ai.inference_completed |
| EVT-P6-023 | ai.human_disposition_recorded |
| EVT-P6-024 | ai.model_suspended |
| EVT-P6-025 | analytics.data_quality_failed |
| EVT-P6-026 | analytics.metric_refreshed |
| EVT-P6-027 | api.client_registered |
| EVT-P6-028 | api.quota_exceeded |
| EVT-P6-029 | webhook.delivery_failed |
| EVT-P6-030 | security.alert_raised |
| EVT-P6-031 | security.incident_created |
| EVT-P6-032 | security.incident_contained |
| EVT-P6-033 | sre.slo_burn_alert |
| EVT-P6-034 | deployment.started |
| EVT-P6-035 | deployment.completed |
| EVT-P6-036 | deployment.rolled_back |
| EVT-P6-037 | downtime.declared |
| EVT-P6-038 | downtime.cleared |
| EVT-P6-039 | backup.failed |
| EVT-P6-040 | dr.failover_started |
| EVT-P6-041 | dr.failover_completed |
| EVT-P6-042 | integration.message_failed |
| EVT-P6-043 | integration.replayed |
| EVT-P6-044 | country_pack.activated |
| EVT-P6-045 | configuration.changed |

# 19. Canonical State Models

| Aggregate | State model |
| --- | --- |
| Workflow definition | DRAFT → REVIEW → APPROVED → ACTIVE → RETIRED; ACTIVE versions are immutable. |
| Workflow instance | RUNNING ↔ WAITING/HUMAN_TASK; RUNNING → COMPLETED; exceptions → FAILED/INTERVENTION; optional CANCELLED/COMPENSATING. |
| Rule version | DRAFT → TESTED → REVIEW → APPROVED → ACTIVE → RETIRED/SUSPENDED. |
| Form/template | DRAFT → VALIDATED → APPROVED → PUBLISHED → RETIRED. |
| AI model | CANDIDATE → VALIDATED → APPROVED → SHADOW/CANARY → DEPLOYED → SUSPENDED/RETIRED; rollback returns traffic to earlier approved deployment. |
| Security incident | NEW → TRIAGED → INVESTIGATING → CONTAINED → ERADICATED → RECOVERED → CLOSED. |
| DR event | NORMAL → DEGRADED → DISASTER_DECLARED → FAILOVER → RECOVERY → VALIDATION → NORMAL. |
| OT alarm | NORMAL → ALARM_ACTIVE → ACKNOWLEDGED → CLEARED → CLOSED; optional SHELVED/SUPPRESSED under policy. |

# 20. Svelte/SvelteKit Workspace Inventory

| Workspace | Key screens |
| --- | --- |
| Hospital command center | Group/site overview; bed/ED/OT/ICU/diagnostic/pharmacy/facility exceptions; escalation panel. |
| SCADA operations | Plant topology; live points; alarm console; trends; historian; excursion; gateway health. |
| Workflow studio | Definition canvas; task/decision/timer properties; version diff; simulator; deployment history. |
| Rules studio | Decision tables; expressions; test cases; simulation; activation; override analytics. |
| Clinical configuration studio | Forms; templates; order sets; pathways; calculators; terminology bindings. |
| Terminology console | Code systems; value sets; search; mappings; import; validation. |
| AI governance console | Model registry; model card; evaluation; deployment; drift; human-review metrics. |
| Analytics admin | Data quality; lineage; semantic metrics; cohort definitions; report governance. |
| Developer portal | Apps/clients; credentials; docs; sandbox; webhooks; usage; certification. |
| SOC console | Alerts; incidents; identities; exports; privileged activity; containment actions. |
| SRE console | SLOs; service maps; traces/logs/metrics; queues; integrations; deployments; capacity. |
| DR/downtime console | Backup health; downtime declaration; edge sync; failover checklist; drill history. |
| Integration console | Adapters; endpoints; message queue; errors; replay; certificates; reconciliation. |
| Country/config admin | Country packs; effective configuration; localization; feature flags; environment diff. |

# 21. Phase 6 Acceptance Scenarios

| Scenario | Title | Acceptance intent |
| --- | --- | --- |
| P6-AT-001 | WAN outage at hospital edge | SCADA gateway buffers telemetry and hospital downtime mode continues approved local workflows; later synchronization is idempotent. |
| P6-AT-002 | Critical oxygen alarm | Alarm raises, escalates, is acknowledged, linked to facilities task and remains auditable; cloud loss does not disable local plant safety. |
| P6-AT-003 | Cold-room excursion | Temperature excursion quarantines affected inventory through explicit integration and captures start/end/max deviation. |
| P6-AT-004 | Workflow version change | New instances use approved new version while in-flight instances continue original version unless explicitly migrated. |
| P6-AT-005 | Workflow service task failure | Retries are bounded/idempotent, instance enters intervention after exhaustion and no duplicate domain transaction occurs. |
| P6-AT-006 | Clinical rule rollback | Faulty active rule is disabled/rolled back without code deployment; decisions remain traceable to exact version. |
| P6-AT-007 | Form schema change | Published clinical form cannot destructively alter finalized historical data; new version renders correctly. |
| P6-AT-008 | Terminology deprecation | Deprecated code is blocked for new use where configured while historical records continue to display original meaning. |
| P6-AT-009 | AI service outage | Clinical/pharmacy/claim workflow continues using deterministic logic and clearly omits optional AI assistance. |
| P6-AT-010 | AI model rollback | Model drift triggers suspension; traffic moves to prior approved model and provenance remains intact. |
| P6-AT-011 | Copilot unsafe suggestion | User reports unsafe output, inference/prompt/model provenance is recoverable and the copilot cannot auto-finalize clinical action. |
| P6-AT-012 | Analytics reconciliation | Revenue dashboard total reconciles to governed source ledger for same scope/version; discrepancy enters data-quality queue. |
| P6-AT-013 | API tenant attack | Client attempts another tenant identifier; backend authorization denies it and SOC detection receives signal. |
| P6-AT-014 | Webhook retry | Partner endpoint fails then recovers; same delivery ID is retried without duplicate downstream transaction. |
| P6-AT-015 | Privilege elevation | Admin receives time-bound elevation, performs action, privilege expires and full audit is retained. |
| P6-AT-016 | Ransomware restore drill | Immutable backup restores in isolated environment, integrity checks pass and achieved RPO/RTO are measured. |
| P6-AT-017 | Database failover | Core service fails over within target profile and outbox/workflow recovery does not double-process transactions. |
| P6-AT-018 | Deployment rollback | Canary error rate breaches threshold; rollout halts and prior artifact is restored. |
| P6-AT-019 | Integration schema change | Partner sends unsupported version; message is quarantined and core workflow remains unaffected. |
| P6-AT-020 | Multi-country tenant | Two facilities in different countries use different tax/privacy/localization packs without mixing rules. |
| P6-AT-021 | OT unauthorized command | Non-OT user cannot invoke command-capable point despite viewing telemetry. |
| P6-AT-022 | Downtime patient reconciliation | Temporary downtime patient is safely reconciled to EMPI after restoration without losing orders/charges. |
| P6-AT-023 | Expired certificate | Integration certificate expiry warning is generated before outage and rotation occurs without credential leakage. |
| P6-AT-024 | Mass export anomaly | Unusual export is blocked or alerted according to policy and incident case captures user/resource context. |

# 22. Phase 6 Non-functional Requirements

| ID | Requirement |
| --- | --- |
| P6-NFR-001 | Shared platform control-plane services shall be horizontally scalable or redundantly deployed where they are production-critical. |
| P6-NFR-002 | Rules evaluation p95 target shall be <100 ms for in-memory/simple interactive rules under reference load, excluding external calls. |
| P6-NFR-003 | Workflow state persistence shall survive worker/node restart without loss of accepted state transition. |
| P6-NFR-004 | Telemetry ingestion shall sustain deployment-specific peak point rate with backpressure and documented capacity headroom. |
| P6-NFR-005 | SCADA historian query shall not impact clinical OLTP performance. |
| P6-NFR-006 | Optional AI platform outage shall not make core clinical/financial/pharma transactions unavailable. |
| P6-NFR-007 | Security/audit logs shall use integrity controls and restricted administration. |
| P6-NFR-008 | Cross-tenant authorization negative tests shall be automated for every external API resource family. |
| P6-NFR-009 | Configuration/rule/form/template changes shall be fully versioned and reproducible across environments. |
| P6-NFR-010 | Critical SLO alerts shall include runbook and owning team. |
| P6-NFR-011 | Backup restore tests shall be executed on a defined recurring cadence and evidence retained. |
| P6-NFR-012 | Analytics and ML workloads shall be isolated from transactional database resource exhaustion. |
| P6-NFR-013 | All external integration retries shall be bounded and idempotency-aware. |
| P6-NFR-014 | Platform must support regional/timezone localization without changing stored clinical event meaning. |
| P6-NFR-015 | Secrets shall never be rendered into client-side Svelte/Flutter bundles. |
| P6-NFR-016 | Platform logs/telemetry shall avoid raw PHI by default and support centrally governed redaction. |
| P6-NFR-017 | Production feature/configuration changes shall be auditable to human/service identity. |
| P6-NFR-018 | High-risk AI/model/config changes shall support immediate disable/rollback. |
| P6-NFR-019 | DR design shall define dependency order for identity, database, event bus, workflow, object store, integrations and application services. |
| P6-NFR-020 | Country-pack activation shall pass automated regression and compliance sign-off gates. |

# 23. Phase 6 Definition of Done

Every shared platform service has an owning team, SLO, runbook and production observability.

SCADA/OT deployment has site-specific network segmentation, asset list, point list, alarm philosophy and safety approval.

Workflow/rules/forms/templates have versioning, promotion and rollback procedures.

Terminology packages and mappings have licensing/governance approval.

AI models/copilots have model cards, evaluation results, intended-use limits, human-oversight design and rollback.

Lakehouse/analytics has lineage, data-quality checks, access controls and metric governance.

External APIs have authentication, rate limits, documentation, tenant-isolation tests and audit.

Cybersecurity controls pass threat-model review, automated scanning and penetration testing appropriate to release risk.

Backup/restore, downtime and DR drills demonstrate agreed operational targets.

Country packs and critical configuration are effective-dated and regression-tested.

# 24. Phase 6 Summary

Phase 6 completes the shared enterprise platform required to operate the healthcare SaaS at scale. It provides the configuration, workflow, rules, terminology, AI, analytics, API, cybersecurity, SRE, downtime/DR, integration and OT/SCADA foundations needed by the functional modules specified in Phases 1–5.

The six SRS phases together form the master requirements baseline. Subsequent engineering work should derive epics, bounded-context backlogs, protobuf contracts, database schemas, UI specifications, state-machine tests, integration specifications, clinical safety cases and release acceptance plans from these stable requirement IDs.